ORDINANCE NO.     2026-03

AN ORDINANCE TO INSTITUTE A FIRE INSPECTION, PREVENTION AND LIFE SAFETY PROGRAM FOR THE PURPOSE OF REDUCING POTENTIAL FIRE HAZARDS AND COLLECTING FEES RELATED THERETO

WHEREAS Wright Township may, under the general authority of the Township Code 8 Pa. C.S.A. §1202, enact regulations to ensure the health, safety, and general welfare of the residents of the Township; and

WHEREAS, in order to maintain the safety and well-being of the Township’s residents, the Township desires to establish a framework for the implementation of fire inspections by a Wright Township Designated Official (as hereinafter defined) for commercial, industrial, and institutional facilities/buildings according to an established schedule, and the collection of fees related thereto; and

WHEREAS, the Supervisors of Wright Township have determined that the health, safety, and general welfare of the residents of the Township will be promoted and served by enacting this Ordinance.

NOW, THEREFORE, be it ORDAINED and ENACTED by the Supervisors of

Wright Township as follows:

1. Title. This Ordinance shall be known, as the "Wright Township Fire Prevention Inspection Program” (hereinafter, the “Fire Prevention Inspection Program”).

2. Purpose. The Fire Prevention Inspection Ordinance is designed to reduce conditions which would pose a threat to life, property and the environment through a regular inspection and enforcement program.

3. International Fire Code Adopted. That a certain document, copies of which are on file at the Wright Township municipal building, being marked and designated as the International Fire Code, 2021 edition, including Appendix chapters A, B, C, D, F, H, I, and J, as published by the International Code Council (hereinafter referred to as “International Fire Code”), shall be and is hereby adopted as the Fire Code of Wright Township in the State of Pennsylvania, regulating and governing the safeguarding of life and property from fire and explosion hazards arising from the storage, handling and use of hazardous substances, materials and devices, and from conditions hazardous to life or property in the occupancy of buildings and premises as herein provided; providing for the issuance of permits and collection of fees therefore; and each and all of the regulations, provisions, penalties, conditions and terms of said International Fire Code on file in the office of Wright Township are hereby referred to, adopted, and made a part hereof, as fully set out in this part, with the additions, insertions, deletions and changes, if any, of this part.

4. Effect on new construction; conflicts with UCC.

- This Article shall not apply to new construction that is otherwise regulated or under construction through permits issued under the Pennsylvania Uniform Construction Code and the International Codes which are mandatorily adopted by Wright Township thereunder (collectively the "UCC").

- To the extent of any conflict between the provisions of the UCC (including, without limitation, the International Fire Code to the extent the International Fire Code is referenced by the International Building Code), the provisions of the UCC shall apply.

3. Designated Official. Wright Township designates the Fire Inspector ("Designated Official") as the official who shall inspect all commercial buildings (as defined by the Pennsylvania Uniform Construction Code PA Title 34, Chapter 401) located within Wright Township, including, but not limited to, multiunit apartment buildings, commercial, industrial, and institutional facilities/buildings, according to an established schedule. The Designated Official shall be a qualified person, holding current certifications from Pennsylvania Labor & Industry as a Fire Inspector, designated by the supervisors and shall serve under the direction of the Township Supervisors. The Designated Official shall be the Authority Having Jurisdiction (AHJ) pertaining to the violations and repairs of properties within the scope of the International Fire Code 2021, as amended, and all later versions adopted by Wright Township.

4. Compliance with IFC. Inspections shall be based on the fire and safety standards and requirements of the International Fire Code of 2021, as amended, and all later versions adopted by Wright Township. All facilities and premises regulated by this ordinance shall always conform to the requirements of the International Fire Code of 2021, as amended, and all later versions adopted by Wright Township. Failure to conform to the requirements of the International Fire Code of 2021, as amended, and all later versions adopted by Wright Township, shall be deemed a violation of this ordinance.

5. Annual Inspections. All commercial (as defined by the Pennsylvania Uniform Construction Code PA Title 34, Chapter 401), industrial, and institutional facilities/buildings (including facilities/buildings used by non-profit organizations) shall be inspected annually. Annual inspections shall be deemed to be a requirement and a condition of obtaining and maintaining a Certificate of Occupancy. Failure to comply with the requirement to submit to an annual fire inspection shall be deemed to be a violation of this ordinance.

6. Initial Fire Inspection. Initial fire inspections shall be required to obtain a Certificate of Occupancy as defined and required by the Pennsylvania Uniform Construction Code and the International Fire Code of 2021, as amended, and all later versions adopted by Wright Township. Initial fire inspections shall also be required and conducted when there is a change of the owner or if the use and occupancy classification (as defined by the International Building Code 2021, as amended, and all later versions adopted by Wright Township) of a commercial, industrial or institutional facility or premises occurs. A business owner or property owner must contact Wright Township’s Designated Official for notification and scheduling of an initial inspection when the owner or use and occupancy has changed before such occupancy shall be authorized. Failure to comply with the requirement to submit to an initial fire inspection shall be deemed to be a violation of this ordinance.

7. Multiple Businesses Within Single Structure. In buildings or structures containing more than one (1) business, separate annual inspections shall be required for each business or commercial area. Any areas under the control of the building owner (shared areas or utility areas) also require an inspection.

8. Notice of Violations/Appeal. During all inspections, the Designated Official shall provide the owner/agent with a written list or email of code violations, if any, and a date by which all violations must be corrected. In cases where an owner/agent does not agree with a violation(s) or the required correct measures order by the Designated Official and believes he/she does meet the intent of the Code by other means, the owner/agent may file an appeal with the Wright Township Building Code Board of Appeals (Wright Township UCC Board)  as defined in the International Fire Code of 2021, as amended, and all later versions adopted by Wright Township.

9. Right of Entry to Conduct Inspections. The person(s) designated under this part, may, during hours of operation or by agreement of the building owner/agent, enter any public or private building or premises for the purpose of an initial or periodic inspection under the Fire Prevention Inspection Program. The Designated Official may, upon reasonable belief or suspicion that a hazard in/on a facility or premises located within Wright Township, inspect such facility or premises during hours of operation or by agreement of the building owner/agent as necessary to ensure compliance with applicable codes. The Designated Official may, upon reasonable belief that an imminent hazard or danger to the life or safety of the public or occupants of a facility or premises exists, inspect such facility or premises as necessary to verify the hazard or danger and may take appropriate measures as may be necessary. Failure to allow access for the Designated Official to perform an inspection(s) shall be deemed a violation of this Ordinance. The Designated Official may obtain an administrative search warrant to enter any property or structure when an owner/agent denies access.

10.  Fees: The fees for the Fire Prevention Inspection Program shall be established by the Supervisors of Wright Township by Resolution and shall be set forth in Wright Township Schedule of Fees. Fees shall be amended by Resolution from time to time.

- The inspection fee shall cover the initial inspection, and a second inspection, if necessary, shall have a fee equal to fifty percent of the initial inspection fee.

- Any additional re-inspections shall be subject to an additional fee, as contained in the fee schedule, until code compliance is achieved.

- Permit fees may be assessed and collected along with the inspection fee. Such Hazardous Materials Storage fees shall be assessed and invoiced annually to defray the cost of response to the facility or premises in the event of an emergency involving hazardous materials. Failure to remit annual payment for Hazardous Materials Storage fees shall be deemed a violation of this ordinance.

- All fees shall be collected prior to the completion of any Fire Prevention Program inspection. Failure to submit payment by the specified date will prevent the inspection and shall constitute a violation of this Part.

- The inspection fee for the initial inspection and a second inspection, if necessary, shall be due on or before the scheduled inspection date. Failure to pay the inspection fee within thirty (30) days of the inspection date shall result in the assessment of a one hundred dollar ($100.00) late fee. An additional late fee of two hundred dollars ($200.00) shall be assessed every thirty (30) days thereafter that the inspection fee remains unpaid.

11. Inspection Certificate Required. Upon approval by the Designated Official, the business or property owner will be issued a certificate of compliance.

- The certificate of compliance shall indicate the following:

  - Owner/occupant name and address.

  - Applicable codes of compliance.

  - Date of inspection.

iv.   Time for which the certificate is valid.

v.    Any other information as the Designated Official deems necessary.

- The certificate shall be posted in a conspicuous place, as to be visible to any employee, customer or Township official entering the facility.

- Failure to obtain or maintain a certificate of compliance shall be deemed to be a violation of this ordinance.

12. Keeping of Records. All official records of inspection and certificates of compliance shall be kept by the Designated Official in the offices of Wright Township

13. Immediate Fire or Other Safety Hazard. If, upon inspection, it is the opinion of the Designated Official that an immediate fire hazard or condition dangerous to human life or property exists, the Designated Official is hereby authorized to order an immediate evacuation of the premises and to secure the same until such hazard or condition has been corrected. If a facility is evacuated and secured by the authority of the Designated Official, the Designated Official shall immediately notify the Wright Township Emergency Management Coordinator or other Township designee.

14. Responsibility of Owner/Occupant. The Designated Official shall schedule all Fire Prevention Inspection Program inspections. For businesses or industrial facilities, it shall be the responsibility of the business itself to maintain all systems and premises in accordance with applicable codes, and to comply with inspection requirements. For multiunit apartment buildings, it shall be the responsibility of the property owner / landlord to maintain all systems and premises in accordance with applicable codes, and to comply with inspection requirements. If violations occur, then the above-named parties are responsible for correcting such violations to comply with the applicable codes.

15. Failure to Comply. The failure or neglect of any person to comply with any order or directive issued by the Designated Official under this Ordinance, within the specified period and pursuant to the provisions of this Ordinance or applicable codes, shall be deemed to be a violation hereof.

16. Violations and Penalties. Any person, partnership, corporation, trust or other entity, who or which, in any way violates any of the provisions of this Ordinance or who or which refuses to obey any lawful order issued by the Designated Official hereunder shall be liable, upon conviction in a court of appropriate jurisdiction, to pay a fine or penalty to Wright Township in an amount not less than One Hundred Dollars ($100.00) nor more than One Thousand Dollars ($ 1,000.00) and/or be sentenced to imprisonment in the county prison for a period not exceeding thirty (30) days, as provided by the law. Each day that a violation continues to exist shall constitute a separate violation.

17. Revocation of Occupancy Permit. In addition to the penalties set forth in Paragraph 16 herein, any person, partnership, corporation, trust or other entity, who or which, in any way violates any of the provisions of this Ordinance or who or which refuses to obey any lawful order issued by the Designated Official hereunder, may result in the revocation of said facility or premises’ occupancy permit, pursuant to the provisions set forth in the Pennsylvania Uniform Construction Code PA Title 34, Chapter 403.

18. Prosecution of Violations. If the notice of violation is not complied with promptly, the Designated Official is authorized to institute the appropriate legal proceedings at law or in equity to restrain, correct or abate such violation of the provisions of this code or of the order or direction made pursuant thereto. Each day of penalties of this Ordinance or applicable code shall be considered separate offense, for which the fines and penalties stated herein may be imposed daily.

19. Appeals. Any person, partnership, corporation, trust, or other entity aggrieved by any provision of this Ordinance or any code issued thereunder may appeal the same to the Wright Township UCC Board.

20. Repealed. All Township Ordinances or parts of Ordinances which are inconsistent herewith are repealed but all other Ordinances not directly inconsistent herewith are saved and shall remain in full force and effect.

21. Severance. If any articles, section, sub-section, provisions, regulations, limitation, restriction, sentence, clause, phrase or word in this Ordinance, is for any reason declared to be illegal, unconstitutional or invalid by any Court of competent jurisdiction such decision shall not affect or impair the validity of the Ordinance as a whole, or any other article, section, sub-section, provisions, regulations, limitation, restriction, sentence, clause, phrase, word or remaining portion of the within Ordinance.  The Township Supervisors hereby declares that it would have adopted the within Ordinance in each article, section, sub-section, provision, regulation, limitation, restriction, sentence, clause, phrase or word thereof, irrespective of the fact that any one or more of the sections, sub-sections, provisions, regulations, limitations, restrictions, sentences, clauses, phrases or words may be declared illegal, unconstitutional or invalid.

22. Effective Date. This Ordinance shall be in full force and effect  March 1, 2026.

ENACTED AND ORDAINED by the Supervisors of Wright Township on this 9th day of February 2026.

WRIGHT TOWNSHIP BOARD OF SUPERVISORS

Chairman, Board of Supervisors

Attest

Pamela A. Heard, Secretary/Treasurer