ORDINANCE 2026- XX

An Ordinance of the Township of Wright, Luzerne County, Pennsylvania, Amending the Existing Stormwater Management Ordinance

WHEREAS, pursuant to the authority granted under the Pennsylvania Second Class Township Code, Act of May 1, 1933 (P.L. 103, No. 69), reenacted and amended July 10, 1947 (P.L. 1481, No. 567), as amended, and other applicable state and federal laws, the Township is authorized to enact ordinances related to stormwater management;

WHEREAS, the Board of Supervisors of Wright Township, Luzerne County, Pennsylvania, previously adopted a Stormwater Management Ordinance in accordance with Pennsylvania Act 167 of 1978 and applicable regulations;

WHEREAS, the Board of Supervisors desires to amend the existing Stormwater Management Ordinance to update provisions, clarify requirements, and maintain compliance with applicable stormwater management standards and regulations;

WHEREAS, the Board of Supervisors finds that proper stormwater management is necessary to protect public health, safety, welfare, and the environment;

NOW, THEREFORE, BE IT ORDAINED AND ENACTED by the Board of Supervisors of Wright Township that the Stormwater Management Ordinance is hereby amended as follows:

Index

Article I – General Provisions

Section 101.	Short Title

Section 102.	Statement of Findings

Section 103.	Purpose

Section 104.	Statutory Authority

Section 105.	Applicability

Section 106.	Repealer

Section 107.	Severability

Section 108.	Compatibility with Other Requirements

Section 109.	Erroneous Permit

Section 110.	Waivers

Article II – Definitions

Article III – Stormwater Management Standards

Section 301.	General Requirements

Section 302.	Exemptions

Section 303.	Volume Controls

Section 304.	Rate Controls

Section 305.	Riparian Buffers

Article IV – Stormwater Management Site Plan Requirements

Section 401.	Plan Requirements

Section 402.	Plan Submission

Section 403.	Plan Review

Section 404.	Modification of Plans

Section 405.	Resubmission of Disapproved SWM Site Plans

Section 406.	Authorization to Construct and Term of Validity

Section 407.	As-Built Plans, Completion Certificate and Final Inspection

Article V – Operation and Maintenance

Section 501.	Responsibilities of Developers and Landowners

Section 502.	Operation and Maintenance Agreements

Article VI – Fees and Expenses

Section 601.	General

Article VII – Prohibitions

Section 701.	Prohibited Discharges and Connections

Section 702.	Roof Drains and Sump Pumps

Section 703.	Alteration of SWM BMPs

Article VIII – Enforcement and Penalties

Section 801.	Right-of-Entry

Section 802.	Inspection

Section 803.	Enforcement

Section 804.	Suspension and Revocation

Section 805.	Penalties

Section 806.	Appeals

Article IX – References

Appendix A – Operation and Maintenance Agreement

ARTICLE I – GENERAL PROVISIONS

Section 101.  Short Title

This Ordinance shall be known and may be cited as the Wright Township Stormwater Management Ordinance.”

Section 102.  Statement of Findings

The governing body of the municipality finds that:

A.	Inadequate management of accelerated runoff of stormwater resulting from development throughout a watershed increases runoff volumes, flows and velocities, contributes to erosion and sedimentation, overtaxes the carrying capacity of streams and storm sewers, greatly increases the cost of public facilities to carry and control stormwater, undermines flood plain management and flood control efforts in downstream communities, reduces groundwater recharge, threatens public health and safety, and increases nonpoint source pollution of water resources.

B.	A comprehensive program of stormwater management (SWM), including reasonable regulation of development and activities causing accelerated runoff, is fundamental to public health, safety, and welfare and the protection of people of the Commonwealth, their resources, and the environment.

C.	Stormwater is an important water resource that provides groundwater recharge for water supplies and supports the base flow of streams.

D.	The use of green infrastructure and low impact development (LID) are intended to address the root cause of water quality impairment by using systems and practices which use or mimic natural processes to: 1) infiltrate and recharge, 2) evapotranspire, and/or 3) harvest and use precipitation near where it falls to earth.  Green infrastructure practices and LID contribute to the restoration or maintenance of pre-development hydrology.

E.	Federal and state regulations require certain municipalities to implement a program of stormwater controls.  These municipalities are required to obtain a permit for stormwater discharges from their separate storm sewer systems under the National Pollutant Discharge Elimination System (NPDES) program.

Section 103.  Purpose

The purpose of this Ordinance is to promote health, safety, and welfare within the municipality and its watershed by minimizing the harms and maximizing the benefits described in Section 102 of this Ordinance, through provisions designed to:

A.	Meet legal water quality requirements under state law, including regulations at 25 Pa. Code 93 to protect, maintain, reclaim, and restore the existing and designated uses of the waters of this Commonwealth.

B.	Preserve natural drainage systems.

C.	Manage stormwater runoff close to the source, reduce runoff volumes and mimic predevelopment hydrology.

D.	Provide procedures and performance standards for stormwater planning and management.

E.	Maintain groundwater recharge to prevent degradation of surface and groundwater quality and to otherwise protect water resources.

F.	Prevent scour and erosion of stream banks and streambeds.

G.	Provide proper operation and maintenance of all stormwater best management practices (BMPs) that are implemented within the municipality.

H.	Provide standards to meet NPDES permit requirements.

Section 104.  Statutory Authority

The municipality is empowered to regulate land use activities that affect runoff by the authority of the Act of July 31, 1968, P.L. 805, No. 247, The Pennsylvania Municipalities Planning Code, as amended, and/or the Act of October 4, 1978, P.L. 864 (Act 167), 32 P.S. Section 680.1, et seq., as amended, The Stormwater Management Act.

Section 105.  Applicability

All regulated activities and all activities that may affect stormwater runoff, including land development and earth disturbance activity, are subject to regulation by this Ordinance.

Section 106.  Repealer

Any other ordinance provision(s) or regulation of the municipality inconsistent with any of the provisions of this Ordinance is hereby repealed to the extent of the inconsistency only.

Section 107.  Severability

In the event that a court of competent jurisdiction declares any section or provision of this Ordinance invalid, such decision shall not affect the validity of any of the remaining provisions of this Ordinance.

Section 108.  Compatibility with Other Requirements

Approvals issued and actions taken under this Ordinance do not relieve the applicant of the responsibility to secure required permits or approvals for activities regulated by any other code, law, regulation or ordinance.

Section 109.  Erroneous Permit

Any permit or authorization issued or approved based on false, misleading or erroneous information provided by an applicant is void without the necessity of any proceedings for revocation. Any work undertaken or use established pursuant to such permit or other authorization is unlawful. No action may be taken by a board, agency or employee of the Municipality purporting to validate such a violation.

Section 110.  Waivers

A.	If the Municipality determines that any requirement under this Ordinance cannot be achieved for a particular regulated activity, the Municipality may, after an evaluation of alternatives, approve measures other than those in this Ordinance, subject to Section 110, paragraphs B and C.

B.	Waivers or modifications of the requirements of this Ordinance may be approved by the Municipality if enforcement will exact undue hardship because of peculiar conditions pertaining to the land in question, provided that the modifications will not be contrary to the public interest and that the purpose of the Ordinance is preserved.  Cost or financial burden shall not be considered a hardship.  Modification may be considered if an alternative standard or approach will provide equal or better achievement of the purpose of the Ordinance.  A request for modifications shall be in writing and accompany the Stormwater Management Site Plan submission.  The request shall provide the facts on which the request is based, the provision(s) of the Ordinance involved and the proposed modification.

C.	No waiver or modification of any regulated stormwater activity involving earth disturbance greater than or equal to one acre may be granted by the Municipality unless that action is approved in advance by the Department of Environmental Protection (DEP) or the delegated county conservation district.

ARTICLE II – DEFINITIONS

For the purposes of this Ordinance, certain terms and words used herein shall be interpreted as follows:

A.	Words used in the present tense include the future tense; the singular number includes the plural, and the plural number includes the singular; words of masculine gender include feminine gender; and words of feminine gender include masculine gender.

B.	The word “includes” or “including” shall not limit the term to the specific example but is intended to extend its meaning to all other instances of like kind and character.

C.	The words “shall” and “must” are mandatory; the words “may” and “should” are permissive.

These definitions do not necessarily reflect the definitions contained in pertinent regulations or statutes, and are intended for this Ordinance only.

Agricultural Activity – Activities associated with agriculture such as agricultural cultivation, agricultural operation, and animal heavy use areas.  This includes the work of producing crops including tillage, land clearing, plowing, disking, harrowing, planting, harvesting crops or pasturing and raising of livestock and installation of conservation measures.  Construction of new buildings or impervious area is not considered an agricultural activity.

Applicant – A landowner, developer, or other person who has filed an application to the municipality for approval to engage in any regulated activity at a project site in the municipality.

Best Management Practice (BMP) – Activities, facilities, designs, measures, or procedures used to manage stormwater impacts from regulated activities, to meet state water quality requirements, to promote groundwater recharge, and to otherwise meet the purposes of this Ordinance.  Stormwater BMPs are commonly grouped into one of two broad categories or measures: “structural” or “non-structural.”  In this Ordinance, non-structural BMPs or measures refer to operational and/or behavior-related practices that attempt to minimize the contact of pollutants with stormwater runoff, whereas structural BMPs or measures are those that consist of a physical device or practice that is installed to capture and treat stormwater runoff.  Structural BMPs include, but are not limited to, a wide variety of practices and devices, from large-scale retention ponds and constructed wetlands, to small-scale underground treatment systems, infiltration facilities, filter strips, low impact design, bioretention, wet ponds, permeable paving, grassed swales, riparian or forested buffers, sand filters, detention basins, and manufactured devices.  Structural stormwater BMPs are permanent appurtenances to the project site.

Conservation District – A conservation district, as defined in Section 3(c) of the Conservation District Law (3 P. S. § 851(c)) that has the authority under a delegation agreement executed with DEP to administer and enforce all or a portion of the regulations promulgated under 25 Pa. Code 102.

Design Storm – The magnitude and temporal distribution of precipitation from a storm event measured in probability of occurrence (e.g., a 5-year storm) and duration (e.g., 24 hours) used in the design and evaluation of stormwater management systems.  Also see Return Period.

Detention Volume – The volume of runoff that is captured and released into the waters of the Commonwealth at a controlled rate.

DEP – The Pennsylvania Department of Environmental Protection.

Development Site (Site) – See Project Site.

Disturbed Area – An unstabilized land area where an earth disturbance activity is occurring or has occurred.

Earth Disturbance Activity – A construction or other human activity which disturbs the surface of the land, including, but not limited to: clearing and grubbing; grading; excavations; embankments; road maintenance; building construction; and the moving, depositing, stockpiling, or storing of soil, rock, or earth materials.

Erosion – The natural process by which the surface of the land is worn away by water, wind, or chemical action.

Existing Condition – The dominant land cover during the 5-year period immediately preceding a proposed regulated activity.

FEMA – Federal Emergency Management Agency.

Floodplain – Any land area susceptible to inundation by water from any natural source or delineated by applicable FEMA maps and studies as being a special flood hazard area.  Also includes areas that comprise Group 13 Soils, as listed in Appendix A of the Pennsylvania DEP Technical Manual for Sewage Enforcement Officers (as amended or replaced from time to time by DEP).

Floodway – The channel of the watercourse and those portions of the adjoining floodplains that are reasonably required to carry and discharge the 100-year flood.  Unless otherwise specified, the boundary of the floodway is as indicated on maps and flood insurance studies provided by FEMA.  In an area where no FEMA maps or studies have defined the boundary of the 100-year floodway, it is assumed--absent evidence to the contrary--that the floodway extends from the stream to 50 feet from the top of the bank of the stream.

Forest Management/Timber Operations – Planning and activities necessary for the management of forestland.  These include conducting a timber inventory, preparation of forest management plans, silvicultural treatment, cutting budgets, logging road design and construction, timber harvesting, site preparation, and reforestation.

Green Infrastructure – Systems and practices that use or mimic natural processes to infiltrate, evapotranspire, or reuse stormwater on the site where it is generated.

Hydrologic Soil Group (HSG) – Infiltration rates of soils vary widely and are affected by subsurface permeability as well as surface intake rates.  Soils are classified into four HSGs (A, B, C, and D) according to their minimum infiltration rate, which is obtained for bare soil after prolonged wetting.  The NRCS defines the four groups and provides a list of most of the soils in the United States and their group classification.  The soils in the area of the development site may be identified from a soil survey report that can be obtained from local NRCS offices or conservation district offices.  Soils become less pervious as the HSG varies from A to D (NRCS1,2).

Impervious Surface (Impervious Area) – A surface that prevents the infiltration of water into the ground.  Impervious surfaces (or areas) shall include, but not be limited to: roofs; additional indoor living spaces, patios, garages, storage sheds and similar structures; and any new streets or sidewalks.  Decks, parking areas, and driveway areas are not counted as impervious areas if they do not prevent infiltration.

Karst – A type of topography or landscape characterized by surface depressions, sinkholes, rock pinnacles/uneven bedrock surface, underground drainage, and caves.  Karst is formed on carbonate rocks, such as limestone or dolomite.

Land Development (Development) – Inclusive of any or all of the following meanings:  (i) the improvement of one lot or two or more contiguous lots, tracts, or parcels of land for any purpose involving (a) a group of two or more buildings or (b) the division or allocation of land or space between or among two or more existing or prospective occupants by means of, or for the purpose of streets, common areas, leaseholds, condominiums, building groups, or other features; (ii) any subdivision of land; (iii) development in accordance with Section 503(1.1) of the PA Municipalities Planning Code.

Low Impact Development (LID) – Site design approaches and small-scale stormwater management practices that promote the use of natural systems for infiltration, evapotranspiration, and reuse of rainwater.  LID can be applied to new development, urban retrofits, and revitalization projects.  LID utilizes design techniques that infiltrate, filter, evaporate, and store runoff close to its source.  Rather than rely on costly large-scale conveyance and treatment systems, LID addresses stormwater through a variety of small, cost-effective landscape features located on-site.

Municipality – Wright Township, Luzerne County, Pennsylvania.

NRCS – USDA Natural Resources Conservation Service (previously SCS).

Peak Discharge – The maximum rate of stormwater runoff from a specific storm event.

Pervious Area – Any area not defined as impervious.

Project Site – The specific area of land where any regulated activities in the municipality are planned, conducted, or maintained.

Qualified Professional – Any person licensed by the Pennsylvania Department of State or otherwise qualified by law to perform the work required by this Ordinance.

Regulated Activities – Any earth disturbance activities or any activities that involve the alteration or development of land in a manner that may affect stormwater runoff.

Regulated Earth Disturbance Activity – Activity involving earth disturbance subject to regulation under 25 Pa. Code 92, 25 Pa. Code 102, or the Clean Streams Law.

Retention Volume/Removed Runoff – The volume of runoff that is captured and not released directly into the surface waters of this Commonwealth during or after a storm event.

Return Period – The average interval, in years, within which a storm event of a given magnitude can be expected to occur one time.  For example, the 25-year return period rainfall would be expected to occur on average once every 25 years; or stated in another way, the probability of a 25-year storm occurring in any one year is 0.04 (i.e., a 4% chance).

Riparian Buffer – A permanent area of trees and shrubs located adjacent to streams, lakes, ponds and wetlands.

Runoff – Any part of precipitation that flows over the land.

Sediment – Soils or other materials transported by surface water as a product of erosion.

State Water Quality Requirements – The regulatory requirements to protect, maintain, reclaim, and restore water quality under Title 25 of the Pennsylvania Code and the Clean Streams Law.

Stormwater – Drainage runoff from the surface of the land resulting from precipitation or snow or ice melt.

Stormwater Management Facility – Any structure, natural or man-made, that, due to its condition, design, or construction, conveys, stores, or otherwise affects stormwater runoff.  Typical stormwater management facilities include, but are not limited to:  detention and retention basins; open channels; storm sewers; pipes; and infiltration facilities.

Stormwater Management Site Plan – The plan prepared by the developer or his representative indicating how stormwater runoff will be managed at the development site in accordance with this Ordinance.  Stormwater Management Site Plan will be designated as SWM Site Plan throughout this Ordinance.

Subdivision – As defined in The Pennsylvania Municipalities Planning Code, Act of July 31, 1968, P.L. 805, No. 247.

USDA – United States Department of Agriculture.

Waters of this Commonwealth – Any and all rivers, streams, creeks, rivulets, impoundments, ditches, watercourses, storm sewers, lakes, dammed water, wetlands, ponds, springs, and all other bodies or channels of conveyance of surface and underground water, or parts thereof, whether natural or artificial, within or on the boundaries of this Commonwealth.

Watershed – Region or area drained by a river, watercourse, or other surface water of this Commonwealth.

Wetland – Areas that are inundated or saturated by surface or groundwater at a frequency and duration sufficient to support, and that under normal circumstances do support, a prevalence of vegetation typically adapted for life in saturated soil conditions, including swamps, marshes, bogs, and similar areas.

ARTICLE III – STORMWATER MANAGEMENT STANDARDS

Section 301.  General Requirements

A.	For all regulated activities, unless preparation of an SWM Site Plan is specifically exempted in Section 302:

1.	Preparation and implementation of an approved SWM Site Plan is required.

2.	No regulated activities shall commence until the municipality issues written approval of an SWM Site Plan, which demonstrates compliance with the requirements of this Ordinance.

B.	SWM Site Plans approved by the municipality, in accordance with Section 406, shall be on site throughout the duration of the regulated activity.

C.	The municipality may, after consultation with DEP, approve measures for meeting the state water quality requirements other than those in this Ordinance, provided that they meet the minimum requirements of, and do not conflict with, state law including, but not limited to, the Clean Streams Law.

D.	For all regulated earth disturbance activities, erosion and sediment control BMPs shall be designed, implemented, operated, and maintained during the regulated earth disturbance activities (e.g., during construction) to meet the purposes and requirements of this Ordinance and to meet all requirements under Title 25 of the Pennsylvania Code and the Clean Streams Law.  Various BMPs and their design standards are listed in the Erosion and Sediment Pollution Control Program Manual (E&S Manual3), No. 363-2134-008, as amended and updated.

E.	Impervious areas:

1.	The measurement of impervious areas shall include all of the impervious areas in the total proposed development even if development is to take place in stages.

2.	For development taking place in stages, the entire development plan must be used in determining conformance with this Ordinance.

3.	For projects that add impervious area to a parcel, the total impervious area on the parcel is subject to the requirements of this Ordinance; except that the volume controls in Section 303 and the peak rate controls of Section 304 do not need to be retrofitted to existing impervious areas that are not being altered by the proposed regulated activity.

F.	Stormwater flows onto adjacent property shall not be created, increased, decreased, relocated, or otherwise altered without written notification to the adjacent property owner(s).  Such stormwater flows shall be subject to the requirements of this Ordinance.

G.	All regulated activities shall include such measures as necessary to:

1.	Protect health, safety, and property.

2.	Meet the water quality goals of this Ordinance by implementing measures to:

a.	Minimize disturbance to floodplains, wetlands, and wooded areas.

b.	Maintain or extend riparian buffers.

c.	Avoid erosive flow conditions in natural flow pathways.

d.	Minimize thermal impacts to waters of this Commonwealth.

e.	Disconnect impervious surfaces by directing runoff to pervious areas, wherever possible.

3.	Incorporate methods described in the Pennsylvania Stormwater Best Management Practices Manual (BMP Manual4).  If methods other than green infrastructure and LID methods are proposed to achieve the volume and rate controls required under this Ordinance, the SWM Site Plan must include a detailed justification demonstrating that the use of LID and green infrastructure is not practicable.

H.	The design of all facilities over karst shall include an evaluation of measures to minimize adverse effects.

I.	Infiltration BMPs should be spread out, made as shallow as practicable, and located to maximize use of natural on-site infiltration features while still meeting the other requirements of this Ordinance.

J.	Normally dry, open top, storage facilities should completely drain both the volume control and rate control capacities over a period of time not less than 24 and not more than 72 hours from the end of the design storm.

K.	The design storm volumes to be used in the analysis of peak rates of discharge should be obtained from the latest version of the Precipitation-Frequency Atlas of the United States, National Oceanic and Atmospheric Administration (NOAA), National Weather Service, Hydrometeorological Design Studies Center, Silver Spring, Maryland.

NOAA’s Atlas 145 can be accessed at:  http://hdsc.nws.noaa.gov/hdsc/pfds/.

L.	For all regulated activities, SWM BMPs shall be designed, implemented, operated, and maintained to meet the purposes and requirements of this Ordinance and to meet all requirements under Title 25 of the Pennsylvania Code, the Clean Streams Law, and the Storm Water Management Act.

M.	Various BMPs and their design standards are listed in the BMP Manual4.

Section 302.  Exemptions

A. Regulated activities that result in cumulative earth disturbance or the creation of impervious surfaces shall be subject to the multi-tiered Stormwater Management (SWM) Site Plan requirements as explicitly set forth in Table III-1 ("SWM Site Plan Requirements By Level") of Section 127-302 of the Wright Township Code.

B. The one (1) acre exemption threshold referenced in this amendment applies strictly to federal and state National Pollutant Discharge Elimination System (NPDES) permitting requirements. It shall not supersede, replace, or invalidate the lower, stricter municipal thresholds established by Wright Township.

C. Any project meeting the criteria for a Level 1, Level 2, Level 3, or Level 4 SWM Site Plan under Table III-1 must submit the required documentation, plans, and fees to the Township in strict accordance with the existing provisions of Chapter 127.

D. Agricultural activity is exempt from the SWM Site Plan preparation requirements of this Ordinance provided the activities are performed according to the requirements of 25 Pa. Code Chapter 102.

E. Forest management and timber operations are exempt from the SWM Site Plan preparation requirements of this Ordinance provided the activities are performed according to the requirements of 25 Pa. Code Chapter 102.

F. Exemptions from any provisions of this Ordinance shall not relieve the applicant from the requirements in Sections 301.D. through K.

G. The Municipality may deny or revoke any exemption pursuant to this Section at any time for any project that the Municipality believes may pose a threat to public health and safety or the environment.

Section 303. Volume Controls

The green infrastructure and low impact development practices provided in the BMP Manual shall be utilized for all regulated activities wherever possible. Water volume controls shall be implemented using both the Design Storm Method in Subsection A and the Simplified Method in Subsection B below. The applicant shall calculate the required control volume using both methodologies, and the final stormwater management facility design must accommodate whichever calculation yields the larger, more restrictive control volume.

A. The Design Storm Method (CG-1 in the BMP Manual) is applicable to any size of regulated activity. This method requires detailed modeling based on site conditions.

- Do not increase the post-development total runoff volume for all storms equal to or less than the 2-year 24-hour duration precipitation.

- For modeling purposes:

a. Existing (predevelopment) non-forested pervious areas must be considered meadow in good condition.

b. 30% of existing impervious area, when present, shall be considered meadow in good condition in the model for existing conditions. This 30% meadow modeling requirement shall apply to all regulated activities requiring a formal SWM Site Plan and hereby repeals, replaces, and supersedes the twenty percent (20%) standard previously established under Section 127-308.A.2.b of the Wright Township Code.

B. The Simplified Method (CG-2 in the BMP Manual) provided below shall be calculated alongside the Design Storm Method to determine the baseline minimum volume comparison. For new impervious surfaces:

- Stormwater facilities shall capture at least the first two (2) inches of runoff from all new impervious surfaces.

- At least the first one inch of runoff from new impervious surfaces shall be permanently removed from the runoff flow, i.e., it shall not be released into the surface waters of this Commonwealth. Removal options include reuse, evaporation, transpiration, and infiltration.

- Wherever possible, infiltration facilities should be designed to accommodate infiltration of the entire permanently removed runoff; however, in all cases at least the first 0.5 inch of the permanently removed runoff should be infiltrated.

- This method is exempt from the requirements of Section 304, Rate Controls.

Section 304.  Rate Controls

A.	For areas not covered by a release rate map from an approved Act 167 Stormwater Management Plan:

Post-development discharge rates shall not exceed the pre-development discharge rates for the 1-, 2-, 5-, 10-, 25-, 50-, and 100-year, 24-hour storm events.  If it is shown that the peak rates of discharge indicated by the post-development analysis are less than or equal to the peak rates of discharge indicated by the pre-development analysis for 1-, 2-, 5-, 10-, 25-, 50-, and 100-year, 24-hour storms, then the requirements of this section have been met.  Otherwise, the applicant shall provide additional controls as necessary to satisfy the peak rate of discharge requirement.

B.	For areas covered by a release rate map from an approved Act 167 Stormwater Management Plan:

For the 1-, 2-, 5-, 10-, 25-, 50-, and 100-year, 24-hour storm events, the post-development peak discharge rates will follow the applicable approved release rate maps.  For any areas not shown on the release rate maps, the post-development discharge rates shall not exceed the pre-development discharge rates.

Section 305.  Riparian Buffers

A.	In order to protect and improve water quality, a Riparian Buffer Easement shall be created and recorded as part of any subdivision or land development that encompasses a Riparian Buffer.

B.	Except as required by Chapter 102, the Riparian Buffer Easement shall be measured to be the greater of the limit of the 100 year floodplain or a minimum of 35 feet from the top of the streambank (on each side).

- Minimum Management Requirements for Riparian Buffers.

- Existing native vegetation shall be protected and maintained within the Riparian Buffer Easement.

- Whenever practicable invasive vegetation shall be actively removed and the Riparian Buffer Easement shall be planted with native trees, shrubs and other vegetation to create a diverse native plant community appropriate to the intended ecological context of the site.

D.	The Riparian Buffer Easement shall be enforceable by the municipality and shall be recorded in the appropriate County Recorder of Deeds Office, so that it shall run with the land and shall limit the use of the property located therein.  The easement shall allow for the continued private ownership and shall count toward the minimum lot area a required by Zoning, unless otherwise specified in the municipal Zoning Ordinance.

E.	Any permitted use within the Riparian Buffer Easement shall be conducted in a manner that will maintain the extent of the existing 100-year floodplain, improve or maintain the stream stability, and preserve and protect the ecological function of the floodplain.

F.	The following conditions shall apply when public and/or private recreation trails are permitted within Riparian Buffers:

- Trails shall be for non-motorized use only.

2.	Trails shall be designed to have the least impact on native plant species and other sensitive environmental features.

G.	Septic drainfields and sewage disposal systems shall not be permitted within the Riparian Buffer Easement and shall comply with setback requirements established under 25 Pa. Code Chapter 73.

ARTICLE IV – STORMWATER MANAGEMENT (SWM) SITE PLAN REQUIREMENTS

Section 401.  Plan Requirements

The following items shall be included in the SWM Site Plan:

A.	Appropriate sections from the municipal’s Subdivision and Land Development Ordinance, and other applicable local ordinances, shall be followed in preparing the SWM Site Plans.  In instances where the Municipality lacks Subdivision and Land Development regulations, the content of SWM Site Plans shall follow the county’s Subdivision and Land Development Ordinance.

B.	The Municipality shall not approve any SWM Site Plan that is deficient in meeting the requirements of this Ordinance.  At its sole discretion and in accordance with this Article, when a SWM Site Plan is found to be deficient, the municipality may either disapprove the submission and require a resubmission, or in the case of minor deficiencies, the Municipality may accept submission of modifications.

C.	Provisions for permanent access or maintenance easements for all physical SWM BMPs, such as ponds and infiltration structures, as necessary to implement the Operation and Maintenance (O&M) Plan discussed in paragraph E.9 below.

D.	The following signature block for the municipality:

Municipal Engineer or other municipal designee, on this date, has reviewed and hereby certifies that the SWM Site Plan meets all design standards and criteria of the Municipal Ordinance # ___.

E.	The SWM Site Plan shall provide the following information:

1.	The overall stormwater management concept for the project.

2.	A determination of site conditions in accordance with the BMP Manual4.  A detailed site evaluation shall be completed for projects proposed in areas of carbonate geology or karst topography, and other environmentally sensitive areas, such as brownfields.

3.	Stormwater runoff design computations and documentation as specified in this Ordinance, or as otherwise necessary to demonstrate that the maximum practicable measures have been taken to meet the requirements of this Ordinance, including the recommendations and general requirements in Section 301.

4.	Expected project time schedule.

5.	A soil erosion and sediment control plan, where applicable, as prepared for and submitted to the approval authority.

6.	The effect of the project (in terms of runoff volumes, water quality, and peak flows) on surrounding properties and aquatic features and on any existing stormwater conveyance system that may be affected by the project.

7.	Plan and profile drawings of all SWM BMPs, including drainage structures, pipes, open channels, and swales.

8.	SWM Site Plan shall show the locations of existing and proposed on-lot wastewater facilities and water supply wells.

9.	The SWM Site Plan shall include an O&M Plan for all existing and proposed physical stormwater management facilities.  This plan shall address long-term ownership and responsibilities for O&M as well as schedules and costs for O&M activities.

10.	A justification must be included in the SWM Site Plan if BMPs other than green infrastructure methods and LID practices are proposed to achieve the volume, rate and water quality controls under this Ordinance.

Section 402.  Plan Submission

Five copies of the SWM Site Plan shall be submitted as follows:

1.	2 hard copies and 1 digital copy to the municipality.

2.	1 copy to the municipal engineer (when applicable).

3.	1 copy to the County Conservation District (sent directly by applicant).

4.	1 copy to the County Planning Commission/Office (sent directly by applicant.

Section 403.  Plan Review

A.	SWM Site Plans shall be reviewed by the municipality for consistency with the provisions of this Ordinance.

B.	The Municipality shall notify the applicant in writing within 45 days whether the SWM Site Plan is approved or disapproved.  If the SWM Site Plan involves a Subdivision and Land Development Plan, the notification shall occur within the time period allowed by the Municipalities Planning Code (90 days).  If a longer notification period is provided by other statute, regulation, or ordinance, the applicant will be so notified by the municipality.

C.	For any SWM Site Plan that proposes to use any BMPs other than green infrastructure and LID practices to achieve the volume and rate controls required under this Ordinance, the Municipality may not approve the SWM Site Plan unless it determines that green infrastructure and LID practices are not practicable.

D.	If the Municipality disapproves the SWM Site Plan, the Municipality will state the reasons for the disapproval in writing.  The Municipality also may approve the SWM Site Plan with conditions and, if so, shall provide the acceptable conditions for approval in writing.

Section 404.  Modification of Plans

A modification to a submitted SWM Site Plan that involves a change in SWM BMPs or techniques, or that involves the relocation or redesign of SWM BMPs, or that is necessary because soil or other conditions are not as stated on the SWM Site Plan as determined by the Municipality shall require a resubmission of the modified SWM Site Plan in accordance with this Article.

Section 405.  Resubmission of Disapproved SWM Site Plans

A disapproved SWM Site Plan may be resubmitted, with the revisions addressing the Municipality’s concerns, to the Municipality in accordance with this Article.  The applicable review fee must accompany a resubmission of a disapproved SWM Site Plan.

Section 406.  Authorization to Construct and Term of Validity

The Municipality’s approval of an SWM Site Plan authorizes the regulated activities contained in the SWM Site Plan for a maximum term of validity of 5 years following the date of approval.  The Municipality may specify a term of validity shorter than 5 years in the approval for any specific SWM Site Plan.  Terms of validity shall commence on the date the Municipality signs the approval for an SWM Site Plan.  If an approved SWM Site Plan is not completed according to Section 407 within the term of validity, then the Municipality may consider the SWM Site Plan disapproved and may revoke any and all permits.  SWM Site Plans that are considered disapproved by the Municipality shall be resubmitted in accordance with Section 405 of this Ordinance.

Section 407.  As-Built Plans, Completion Certificate, and Final Inspection

A.	The developer shall be responsible for providing as-built plans of all SWM BMPs included in the approved SWM Site Plan.  The as-built plans and an explanation of any discrepancies with the construction plans shall be submitted to the Municipality.

B.	The as-built submission shall include a certification of completion signed by a qualified professional verifying that all permanent SWM BMPs have been constructed according to the approved plans and specifications.  The latitude and longitude coordinates for all permanent SWM BMPs must also be submitted, at the central location of the BMPs.  If any licensed qualified professionals contributed to the construction plans, then a licensed qualified professional must sign the completion certificate.

C.	After receipt of the completion certification by the Municipality, the Municipality may conduct a final inspection.

ARTICLE V – OPERATION AND MAINTENANCE

Section 501.  Responsibilities of Developers and Landowners

A.	The Municipality shall make the final determination on the continuing maintenance responsibilities prior to final approval of the SWM Site Plan.  The municipality may require a dedication of such facilities as part of the requirements for approval of the SWM Site Plan.  Such a requirement is not an indication that the municipality will accept the facilities.  The municipality reserves the right to accept or reject the ownership and operating responsibility for any portion of the stormwater management controls.

B.	Facilities, areas, or structures used as SWM BMPs shall be enumerated as permanent real estate appurtenances and recorded as deed restrictions or conservation easements that run with the land.

C.	The O&M Plan shall be recorded as a restrictive deed covenant that runs with the land.

D.	The Municipality may take enforcement actions against an owner for any failure to satisfy the provisions of this Article.

Section 502.  Operation and Maintenance Agreements

A.	Prior to final approval of the SWM Site Plan, the property owner shall sign and record an Operation and Maintenance (O&M) Agreement (see Appendix A) covering all stormwater control facilities which are to be privately owned.

1.	The owner, successor and assigns shall maintain all facilities in accordance with the approved maintenance schedule in the O&M Agreement.

2.	The owner shall convey to the Municipality conservation easements to assure access for periodic inspections by the Municipality and maintenance, as necessary.

3.	The owner shall keep on file with the Municipality the name, address, and telephone number of the person or company responsible for maintenance activities; in the event of a change, new information shall be submitted by the owner to the Municipality within ten (10) working days of the change.

B.	The owner is responsible for operation and maintenance (O&M) of the SWM BMPs.  If the owner fails to adhere to the O&M Agreement, the Municipality may perform the services required and charge the owner appropriate fees.  Nonpayment of fees may result in a lien against the property.

Section 503.  Performance Guarantee

For SWM Site Plans that involve subdivision and land development, the applicant shall provide a financial guarantee to the Municipality for the timely installation and proper construction of all stormwater management controls as required by the approved SWM Site Plan and this Ordinance in accordance with the provisions of Sections 509, 510, and 511 of the Pennsylvania Municipalities Planning Code.

ARTICLE VI – FEES AND EXPENSES

Section 601.  General

§ 127-601. General Fees [Amended 2026]. The fees required by this chapter are established to defray review, inspection, and long-term administrative costs incurred by the Township and the Township Engineer. All fees shall be paid by the applicant. All administrative and compliance tracking fees collected under this Article shall be deposited into a single, pooled Township stormwater management account, with no requirement for the Township to track individual project balances or issue refunds.

§ 127-602. Township SWM Site Plan Review Fee [Amended 2026]. The Township shall establish a review fee schedule by resolution of the Township Board of Supervisors based on the size of the regulated activity and based on the Township’s costs for reviewing SWM site plans. The Township shall periodically update the review fee schedule by resolution to ensure that review costs are adequately reimbursed. Refer also to § 131-404 (SALDO).

§ 127-603. Expenses covered by fees.

The fees required by this chapter shall at a minimum cover:

- Administrative and/or clerical costs.

- The review of the SWM site plan by the Township and the Township Engineer.

- Site inspections and/or facility inspections

- The inspection of stormwater management facilities and SWM improvements during construction.

- The final inspection upon completion of the stormwater management facilities and SWM improvements presented in the SWM site plan.

- Any additional work required to enforce any permit provisions regulated by this chapter, correct violations, and assure proper completion of stipulated remedial actions.

§ 127-604. Permit Application Fees [Amended 2026]. A. The fee to submit a stormwater permit application for each of the levels specified on Appendix B of this chapter (Level 1, Level 2, Level 3, and Level 4) shall be established, and may be amended from time to time, by Resolution of the Board of Supervisors.

B. If any meetings, additional inspections, or additional reviews are required to verify compliance with the ordinance, or at the request of the applicant prior to completion of the project, the applicant will be billed on a time-and-materials basis at the Township Engineer’s then-current hourly contract rate as approved annually by the Board of Supervisors, plus any applicable municipal administrative processing fees.

C. No occupancy permit shall be issued under any circumstances until all outstanding Wright Township stormwater invoices are paid in full by the applicant.

ARTICLE VII – PROHIBITIONS

Section 701.  Prohibited Discharges and Connections

A.	Any drain or conveyance, whether on the surface or subsurface, that allows any non-stormwater discharge including sewage, process wastewater, and wash water to enter a regulated small MS4 or to enter the surface waters of this Commonwealth is prohibited.

B.	No person shall allow, or cause to allow, discharges into a regulated small MS4, or discharges into waters of this Commonwealth, which are not composed entirely of stormwater, except (1) as provided in paragraph C below and (2) discharges authorized under a state or federal permit.

C.	The following discharges are authorized unless they are determined to be significant contributors to pollution a regulated small MS4 or to the waters of this Commonwealth:

- Discharges or flows from firefighting activities.

- Discharges from potable water sources including water line flushing and fire hydrant flushing, if such discharges do not contain detectable concentrations of Total Residual Chlorine (TRC).

- Non-contaminated irrigation water, water from lawn maintenance, landscape drainage and flows from riparian habitats and wetlands.

- Diverted stream flows and springs.

- Non-contaminated pumped ground water and water from foundation and footing drains and crawl space pumps.

- Non-contaminated HVAC condensation and water from geothermal systems.

- Residential (i.e., not commercial) vehicle wash water where cleaning agents are not utilized.

- Non-contaminated hydrostatic test water discharges, if such discharges do not contain detectable concentrations of TRC.

D.	In the event that the municipality or DEP determines that any of the discharges identified in Subsection C significantly contribute pollutants to a regulated small MS4 or to the waters of this Commonwealth, the municipality or DEP will notify the responsible person(s) to cease the discharge.

Section 702.  Roof Drains and Sump Pumps

Roof drains and sump pumps shall discharge to infiltration or vegetative BMPs wherever feasible.

Section 703.  Alteration of SWM BMPs

No person shall modify, remove, fill, landscape, or alter any SWM BMPs, facilities, areas, or structures that were installed as a requirement of this Ordinance without the written approval of the Municipality.

ARTICLE VIII – ENFORCEMENT AND PENALTIES

Section 801.  Right-of-Entry

Upon presentation of proper credentials, the municipality or its designated agent may enter at reasonable times upon any property within the municipality to inspect the condition of the stormwater structures and facilities in regard to any aspect regulated by this Ordinance.

Section 802.  Inspection

The landowner or the owner’s designee (including the Municipality for dedicated and owned facilities)  inspect SWM BMPs, facilities and/or structures installed under this Ordinance according to the following frequencies, at a minimum, to ensure the BMPs, facilities and/or structures continue to function as intended:

1.	Annually for the first 5 years.

2.	Once every 3 years thereafter.

3.	During or immediately after the cessation of a 10-year or greater storm.

Inspections should be conducted during or immediately following precipitation events.  A written inspection report shall be created to document each inspection.  The inspection report shall contain the date and time of the inspection, the individual(s) who completed the inspection, the location of the BMP, facility or structure inspected, observations on performance, and recommendations for improving performance, if applicable.  Inspection reports shall be submitted to the Municipality within 30 days following completion of the inspection.

Section 803.  Enforcement

A.	It shall be unlawful for a person to undertake any regulated activity except as provided in an approved SWM Site Plan, unless specifically exempted in Section 302.

B.	It shall be unlawful to violate Section 703 of this Ordinance.

C.Inspections regarding compliance with the SWM Site Plan are a responsibility of the Municipality.

Section 804.  Suspension and Revocation

A.	Any approval or permit issued by the Municipality pursuant to this Ordinance may be suspended or revoked for:

1.	Non-compliance with or failure to implement any provision of the approved SWM Site Plan or O&M Agreement.

2.	A violation of any provision of this Ordinance or any other applicable law, ordinance, rule, or regulation relating to the Regulated Activity.

3.	The creation of any condition or the commission of any act during the Regulated Activity which constitutes or creates a hazard, nuisance, pollution, or endangers the life or property of others.

B.	A suspended approval may be reinstated by the Municipality when:

1.	The Municipality has inspected and approved the corrections to the violations that caused the suspension.

2.	The Municipality is satisfied that the violation has been corrected.

C.	An approval that has been revoked by the Municipality cannot be reinstated.  The applicant may apply for a new approval under the provisions of this Ordinance.

D.	If a violation causes no immediate danger to life, public health, or property, at its sole discretion, the Municipality may provide a limited time period for the owner to correct the violation.  In these cases, the Municipality will provide the owner, or the owner’s designee, with a written notice of the violation and the time period allowed for the owner to correct the violation.  If the owner does not correct the violation within the allowed time period, the municipality may revoke or suspend any, or all, applicable approvals and permits pertaining to any provision of this Ordinance.

Section 805.  Penalties

A.	Anyone violating the provisions of this Ordinance shall be guilty of a summary offense, and upon conviction, shall be subject to a fine of not more than $1,000 for each violation, recoverable with costs.  Each day that the violation continues shall be a separate offense and penalties shall be cumulative.

B.	In addition, the municipality may institute injunctive, mandamus, or any other appropriate action or proceeding at law or in equity for the enforcement of this Ordinance.  Any court of competent jurisdiction shall have the right to issue restraining orders, temporary or permanent injunctions, mandamus, or other appropriate forms of remedy or relief.

Section 806.  Appeals

A.	Any person aggrieved by any action of the Municipality or its designee, relevant to the provisions of this Ordinance, may appeal to the Municipality within 30 days of that action.

B.	Any person aggrieved by any decision of the Municipality, relevant to the provisions of this Ordinance, may appeal to the County Court of Common Pleas in the county where the activity has taken place within 30 days of the Municipality’s decision.

ARTICLE IX – REFERENCES

1.	U.S. Department of Agriculture, National Resources Conservation Service (NRCS).  National Engineering Handbook.  Part 630: Hydrology, 1969-2001.  Originally published as the National Engineering Handbook, Section 4: Hydrology.  Available from the NRCS online at:  http://www.nrcs.usda.gov/.

2.	U.S. Department of Agriculture, Natural Resources Conservation Service. 1986. Technical Release 55: Urban Hydrology for Small Watersheds, 2nd Edition. Washington, D.C.

3.	Pennsylvania Department of Environmental Protection.  No. 363-0300-002 (December 2006), as amended and updated.  Pennsylvania Stormwater Best Management Practices Manual.  Harrisburg, PA.

4.	Pennsylvania Department of Environmental Protection.  No. 363-2134-008 (March 31, 2012), as amended and updated.  Erosion and Sediment Pollution Control Program Manual.  Harrisburg, PA.

5.	U.S. Department of Commerce, National Oceanic and Atmospheric Administration, National Weather Service, Hydrometeorological Design Studies Center.  2004-2006.  Precipitation-Frequency Atlas of the United States, Atlas 14, Volume 2, Version 3.0, Silver Spring, Maryland. Internet address:  http://hdsc.nws.noaa.gov/hdsc/pfds/.

SECTION XX. CODIFICATION AND RENUMBERING.

It is the intention of the Board of Supervisors of Wright Township that the provisions of this Ordinance shall become and be made a part of the Wright Township Code. The codifier is hereby authorized and directed to renumber and format all Articles and Sections herein to conform seamlessly with the existing three-digit hyper-decimal numbering architecture of Chapter 127 (Stormwater Management).

Adopted this 13th day of July 2026.

WRIGHT TOWNSHIP BOARD OF SUPERVISORS

_______________________________________

Donald Zampetti, Chairman

ATTEST:

______________________________

Pamela Heard, Secretary-Treasurer

APPENDIX A

OPERATION AND MAINTENANCE (O&M) AGREEMENT

STORMWATER MANAGEMENT BEST MANAGEMENT PRACTICES (SWM BMPs)

THIS AGREEMENT, made and entered into this day of      , 20     , by and between       (hereinafter the “Landowner”), and      ,       County, Pennsylvania (hereinafter “Municipality”);

WITNESSETH

WHEREAS, the Landowner is the owner of certain real property as recorded by deed in the land records of      	 County, Pennsylvania, Deed Book      	 at page      	,

(hereinafter “Property”).

WHEREAS, the Landowner is proceeding to build and develop the Property; and

WHEREAS, the SWM BMP Operation and Maintenance (O&M) Plan approved by the Municipality (hereinafter referred to as the “O&M Plan”) for the property identified herein, which is attached hereto as Appendix A and made part hereof, as approved by the Municipality, provides for management of stormwater within the confines of the Property through the use of BMPs; and

WHEREAS, the Municipality, and the Landowner, his successors and assigns, agree that the health, safety, and welfare of the residents of the Municipality and the protection and maintenance of water quality require that on-site SWM BMPs be constructed and maintained on the Property; and

WHEREAS, the Municipality requires, through the implementation of the SWM Site Plan, that SWM BMPs as required by said SWM Site Plan and the Municipal Stormwater Management Ordinance be constructed and adequately operated and maintained by the Landowner, successors, and assigns.

NOW, THEREFORE, in consideration of the foregoing promises, the mutual covenants contained herein, and the following terms and conditions, the parties hereto agree as follows:

1.	The Landowner shall construct the BMPs in accordance with the plans and specifications identified in the SWM Site Plan.

2.	The Landowner shall operate and maintain the BMPs as shown on the SWM Site Plan in good working order in accordance with the specific operation and maintenance requirements noted on the approved O&M Plan.

3.	The Landowner hereby grants permission to the Municipality, its authorized agents and employees, to enter upon the property, at reasonable times and upon presentation of proper credentials, to inspect the BMPs whenever necessary.  Whenever possible, the Municipality shall notify the Landowner prior to entering the property.

4.	In the event the Landowner fails to operate and maintain the BMPs per paragraph 2, the Municipality or its representatives may enter upon the Property and take whatever action is deemed necessary to maintain said BMP(s).  It is expressly understood and agreed that the Municipality is under no obligation to maintain or repair said facilities, and in no event shall this Agreement be construed to impose any such obligation on the Municipality.

5.	In the event the Municipality, pursuant to this Agreement, performs work of any nature, or expends any funds in performance of said work for labor, use of equipment, supplies, materials, and the like, the Landowner shall reimburse the Municipality for all expenses (direct and indirect) incurred within 10 days of receipt of invoice from the Municipality.

6.	The intent and purpose of this Agreement is to ensure the proper maintenance of the on-site BMPs by the Landowner; provided, however, that this Agreement shall not be deemed to create any additional liability of any party for damage alleged to result from or be caused by stormwater runoff.

7.	The Landowner, its executors, administrators, assigns, and other successors in interests, shall release the Municipality from all damages, accidents, casualties, occurrences, or claims which might arise or be asserted against said employees and representatives from the construction, presence, existence, or maintenance of the BMP(s) by the Landowner or Municipality.

8.	The Municipality intends to inspect the BMPs at a minimum of once every three years to ensure their continued functioning.

This Agreement shall be recorded at the Office of the Recorder of Deeds of      	 County, 
Pennsylvania, and shall constitute a covenant running with the Property and/or equitable servitude, and shall be binding on the Landowner, his administrators, executors, assigns, heirs, and any other successors in interests, in perpetuity.

ATTEST:

WITNESS the following signatures and seals:

(SEAL)	For the Municipality:

For the Landowner:

ATTEST:

(City, Borough, Township)

County of      	, Pennsylvania

I,      		, a Notary Public in and for the county and state aforesaid, whose commission expires on the       day of      	, 20     , do hereby certify that      	 whose name(s) is/are signed to the foregoing Agreement bearing date of the       day      	, 20     , has acknowledged the same before me in my said county and state.

GIVEN UNDER MY HAND THIS      	 day of      	, 20     .

NOTARY PUBLIC		(SEAL)